## OAC 252-301 DW App.
Mark selections according to this key: | x - use to note items currently on the lab's scope that you wish to maintain. (optional) |  | a - use to note items to add to current scope | w - use to note items to withdraw from current scope
Category | Method Description | NELAC Method Code | Analyte Name | NELAC Analyte Code | Drinking Water Matrix | Micro Presence/ Absense | Micro Enumeration | Comments
Asbestos | EPA 100.1 | 10004203 | Asbestos | 1520
Asbestos | EPA 100.2 | 10004407 | Asbestos | 1520
General Chem | ASTM D1067-16B | 30003772 | Alkalinity as CaCO3 | 1505
General Chem | SM 2320 B 23rd ED | 20045436 | Alkalinity as CaCO3 | 1505
General Chem | USGS I-1030-85 | 40001205 | Alkalinity as CaCO3 | 1505
General Chem | ASTM D6581-08A | 30032623 | Bromate | 1535
General Chem | ASTM D6581-08B | 30032632 | Bromate | 1535
General Chem | EPA 300.0 2.1 | 10053200 | Bromate | 1535
General Chem | EPA 300.1 1 | 10275602 | Bromate | 1535
General Chem | EPA 317.0 2 | 10237602 | Bromate | 1535
General Chem | EPA 321.8 1 | 10056403 | Bromate | 1535
General Chem | EPA 326.0 1 | 10277608 | Bromate | 1535
General Chem | EPA 300.0 2.1 | 10053200 | Bromide | 1540
General Chem | EPA 300.1 1 | 10275602 | Bromide | 1540
General Chem | EPA 300.0 2.1 | 10053200 | Chlorate | 1570
General Chem | EPA 300.1 1 | 10275602 | Chlorate | 1570
General Chem | EPA 327.0 1.1 | 10277806 | Chlorine dioxide, res. disinfectant | 1590
General Chem | SM 4500-ClO2 E 23rd ED | 20088895 | Chlorine dioxide, res. disinfectant | 1590
General Chem | ASTM D6581-08A | 30032623 | Chlorite | 1595
General Chem | ASTM D6581-08B | 30032632 | Chlorite | 1595
General Chem | EPA 300.0 2.1 | 10053200 | Chlorite | 1595
General Chem | EPA 300.1 1 | 10275602 | Chlorite | 1595
General Chem | EPA 317.0 2 | 10237602 | Chlorite | 1595
General Chem | EPA 326.0 1 | 10277608 | Chlorite | 1595
General Chem | EPA 327.0 1.1 | 10277806 | Chlorite | 1595
General Chem | ASTM D1125-95A (99) | 30005200 | Conductivity | 1610
General Chem | EPA 120.1 | 10006403 | Conductivity | 1610
General Chem | SM 2510 B 20th ED | 20048208 | Conductivity | 1610
General Chem | EPA 415.3 Rev. 1.2 | 10239222 | Dissolved Organic Carbon | 1710
General Chem | SM 5310 B 23rd ED | 20137637 | Dissolved Organic Carbon | 1710
General Chem | SM 5310 C 23rd ED | 20138630 | Dissolved Organic Carbon | 1710
General Chem | SM 5310 D 22nd ED | 20139611 | Dissolved Organic Carbon | 1710
General Chem | ASTM D1179-16B | 30005415 | Fluoride | 1730
General Chem | ASTM D4327-17 | 30019159 | Fluoride | 1730
General Chem | EPA 300.0 2.1 | 10053200 | Fluoride | 1730
General Chem | EPA 300.1 1 | 10275602 | Fluoride | 1730
General Chem | SM 4110 B 23rd ED | 20076840 | Fluoride | 1730
General Chem | SM 4500-F¯ C 23rd ED | 20102232 | Fluoride | 1730
General Chem | SM 4500-F¯ D 23rd ED | 20103235 | Fluoride | 1730
General Chem | SM 4500-F¯ E 23rd ED | 20104238 | Fluoride | 1730
General Chem | SM 4500-CN¯ F 23rd ED | 20096622 | Free Cyanide | 1640
General Chem | SM 4500-CN¯ G 23rd ED | 20097023 | Free Cyanide | 1640
General Chem | EPA 300.0 2.1 | 10053200 | Nitrate as N | 1810
General Chem | EPA 300.1 1 | 10275602 | Nitrate as N | 1810
General Chem | EPA 353.2 2 | 10067604 | Nitrate as N | 1810
General Chem | SM 4110 B 23rd ED | 20076840 | Nitrate as N | 1810
General Chem | SM 4500-NO3¯ D 23rd ED | 20013836 | Nitrate as N | 1810
General Chem | SM 4500-NO3¯ E 23rd ED | 20014630 | Nitrate as N | 1810
General Chem | SM 4500-NO3¯ F 23rd ED | 20116421 | Nitrate as N | 1810
General Chem | EPA 300.0 2.1 | 10053200 | Nitrate plus Nitrite as N | 1820
General Chem | EPA 300.1 1 | 10275602 | Nitrate plus Nitrite as N | 1820
General Chem | EPA 353.2 2 | 10067604 | Nitrate plus Nitrite as N | 1820
General Chem | SM 4110 B 23rd ED | 20076840 | Nitrate plus Nitrite as N | 1820
General Chem | SM 4500-NO3¯ E 23rd ED | 20014630 | Nitrate plus Nitrite as N | 1820
General Chem | SM 4500-NO3¯ F 23rd ED | 20116421 | Nitrate plus Nitrite as N | 1820
General Chem | EPA 300.0 2.1 | 10053200 | Nitrite as N | 1840
General Chem | EPA 300.1 1 | 10275602 | Nitrite as N | 1840
General Chem | EPA 353.2 2 | 10067604 | Nitrite as N | 1840
General Chem | SM 4110 B 23rd ED | 20076840 | Nitrite as N | 1840
General Chem | SM 4500-NO2¯ B 23rd ED | 20112838 | Nitrite as N | 1840
General Chem | SM 4500-NO3¯ E 23rd ED | 20014630 | Nitrite as N | 1840
General Chem | SM 4500-NO3¯ F 23rd ED | 20116421 | Nitrite as N | 1840
General Chem | ASTM D515-88A | 30001402 | Orthophosphate as P | 1870
General Chem | EPA 300.0 2.1 | 10053200 | Orthophosphate as P | 1870
General Chem | EPA 300.1 1 | 10275602 | Orthophosphate as P | 1870
General Chem | EPA 365.1 2 | 10070005 | Orthophosphate as P | 1870
General Chem | SM 4110 B 23rd ED | 20076840 | Orthophosphate as P | 1870
General Chem | SM 4500-P E 23rd ED | 20124032 | Orthophosphate as P | 1870
General Chem | SM 4500-P F 23rd ED | 20124838 | Orthophosphate as P | 1870
General Chem | ASTM D1293-99A | 30024910 | pH | 1900
General Chem | EPA 150.1 | 10008205 | pH | 1900
General Chem | EPA 150.2 | 10008807 | pH | 1900
General Chem | SM 4500-H+ B 23rd ED | 20105037 | pH | 1900
General Chem | SM 4500-Cl D 23rd ED | 20079849 | Residual Free Chlorine | 1945
General Chem | SM 4500-Cl F 23rd ED | 20080642 | Residual Free Chlorine | 1945
General Chem | SM 4500-Cl G 23rd ED | 20081441 | Residual Free Chlorine | 1945
General Chem | SM 4500-Cl H 23rd ED | 20082444 | Residual Free Chlorine | 1945
General Chem | EPA 415.3 Rev. 1.2 | 10239222 | Specific UV Absorbance (SUVA) | 3993
General Chem | SM 2550 B-00 | 20053218 | Temperature, deg. C | 2030
General Chem | EPA 335.4 | 10061402 | Total Cyanide | 1645
General Chem | SM 4500-CN¯ C 23rd ED | 20095458 | Total Cyanide | 1645
General Chem | SM 4500-CN¯ E 23rd ED | 20096224 | Total Cyanide | 1645
General Chem | SM 4500-CN¯ F 23rd ED | 20096622 | Total Cyanide | 1645
General Chem | SM 4500-CN¯ G 23rd ED | 20097023 | Total Cyanide | 1645
General Chem | EPA 415.3 Rev. 1.2 | 10239222 | Total Organic Carbon | 2040
General Chem | SM 5310 B 23rd ED | 20137637 | Total Organic Carbon | 2040
General Chem | SM 5310 C 23rd ED | 20138630 | Total Organic Carbon | 2040
General Chem | SM 5310 D 22nd ED | 20139611 | Total Organic Carbon | 2040
General Chem | SM 4500-Cl D 23rd ED | 20079849 | Total Residual Chlorine | 1940
General Chem | SM 4500-Cl E 23rd ED | 20080255 | Total Residual Chlorine | 1940
General Chem | SM 4500-Cl F 23rd ED | 20080642 | Total Residual Chlorine | 1940
General Chem | SM 4500-Cl G 23rd ED | 20081441 | Total Residual Chlorine | 1940
General Chem | SM 4500-Cl I 23rd ED | 20083458 | Total Residual Chlorine | 1940
General Chem | EPA 180.1 | 10011800 | Turbidity | 2055
General Chem | Hach 10258 Rev. 2.0 | 60005767 | Turbidity | 2055
General Chem | Hach 8195 Rev. 3.0 | 60003921 | Turbidity | 2055
General Chem | SM 2130 B 23rd ED | 20042631 | Turbidity | 2055
General Chem | EPA 415.3 Rev. 1.2 | 10239222 | UV 254 | 2060
General Chem | SM 5910 B 23rd ED | 20146230 | UV 254 | 2060
DW Metal | ASTM D1688-17A | 30008378 | Copper | 1055
DW Metal | ASTM D1688-17C | 30008389 | Copper | 1055
DW Metal | ASTM D2972-15B | 30012625 | Arsenic | 1010
DW Metal | ASTM D2972-15C | 30012589 | Arsenic | 1010
DW Metal | ASTM D3645-15B | 30016989 | Beryllium | 1020
DW Metal | ASTM D3697-17 | 30017788 | Antimony | 1005
DW Metal | ASTM D3859-15A | 30017960 | Selenium | 1140
DW Metal | ASTM D3859-15B | 30017971 | Selenium | 1140
DW Metal | EPA 200.5 4.2 | 10213975 | Antimony | 1005
DW Metal | EPA 200.5 4.2 | 10213975 | Arsenic | 1010
DW Metal | EPA 200.5 4.2 | 10213975 | Barium | 1015
DW Metal | EPA 200.5 4.2 | 10213975 | Beryllium | 1020
DW Metal | EPA 200.5 4.2 | 10213975 | Cadmium | 1030
DW Metal | EPA 200.5 4.2 | 10213975 | Calcium | 1035
DW Metal | EPA 200.5 4.2 | 10213975 | Chromium | 1040
DW Metal | EPA 200.5 4.2 | 10213975 | Copper | 1055
DW Metal | EPA 200.5 4.2 | 10213975 | Lead | 1075
DW Metal | EPA 200.5 4.2 | 10213975 | Magnesium | 1085
DW Metal | EPA 200.5 4.2 | 10213975 | Nickel | 1105
DW Metal | EPA 200.5 4.2 | 10213975 | Selenium | 1140
DW Metal | EPA 200.5 4.2 | 10213975 | Silica as SiO2 | 1990
DW Metal | EPA 200.5 4.2 | 10213975 | Sodium | 1155
DW Metal | EPA 200.7 4.4 | 10013806 | Barium | 1015
DW Metal | EPA 200.7 4.4 | 10013806 | Beryllium | 1020
DW Metal | EPA 200.7 4.4 | 10013806 | Cadmium | 1030
DW Metal | EPA 200.7 4.4 | 10013806 | Calcium | 1035
DW Metal | EPA 200.7 4.4 | 10013806 | Chromium | 1040
DW Metal | EPA 200.7 4.4 | 10013806 | Copper | 1055
DW Metal | EPA 200.7 4.4 | 10013806 | Magnesium | 1085
DW Metal | EPA 200.7 4.4 | 10013806 | Nickel | 1105
DW Metal | EPA 200.7 4.4 | 10013806 | Silica as SiO2 | 1990
DW Metal | EPA 200.7 4.4 | 10013806 | Sodium | 1155
DW Metal | EPA 200.8 5.4 | 10014605 | Antimony | 1005
DW Metal | EPA 200.8 5.4 | 10014605 | Arsenic | 1010
DW Metal | EPA 200.8 5.4 | 10014605 | Barium | 1015
DW Metal | EPA 200.8 5.4 | 10014605 | Beryllium | 1020
DW Metal | EPA 200.8 5.4 | 10014605 | Cadmium | 1030
DW Metal | EPA 200.8 5.4 | 10014605 | Chromium | 1040
DW Metal | EPA 200.8 5.4 | 10014605 | Copper | 1055
DW Metal | EPA 200.8 5.4 | 10014605 | Lead | 1075
DW Metal | EPA 200.8 5.4 | 10014605 | Mercury | 1095
DW Metal | EPA 200.8 5.4 | 10014605 | Nickel | 1105
DW Metal | EPA 200.8 5.4 | 10014605 | Selenium | 1140
DW Metal | EPA 200.8 5.4 | 10014605 | Thallium | 1165
DW Metal | EPA 200.9 2.2 | 10015404 | Antimony | 1005
DW Metal | EPA 200.9 2.2 | 10015404 | Arsenic | 1010
DW Metal | EPA 200.9 2.2 | 10015404 | Beryllium | 1020
DW Metal | EPA 200.9 2.2 | 10015404 | Cadmium | 1030
DW Metal | EPA 200.9 2.2 | 10015404 | Chromium | 1040
DW Metal | EPA 200.9 2.2 | 10015404 | Copper | 1055
DW Metal | EPA 200.9 2.2 | 10015404 | Lead | 1075
DW Metal | EPA 200.9 2.2 | 10015404 | Nickel | 1105
DW Metal | EPA 200.9 2.2 | 10015404 | Selenium | 1140
DW Metal | EPA 200.9 2.2 | 10015404 | Thallium | 1165
DW Metal | EPA 245.1 Rev. 3 (1994) | 10036609 | Mercury | 1095
DW Metal | EPA 245.2 | 10271406 | Mercury | 1095
DW Metal | Palintest Method 1001, Rev. 1.1 | 60006248 | Lead | 1075
DW Metal | SM 3111 B 23rd ED | 20055236 | Calcium | 1035
DW Metal | SM 3111 B 23rd ED | 20055236 | Copper | 1055
DW Metal | SM 3111 B 23rd ED | 20055236 | Magnesium | 1085
DW Metal | SM 3111 B 23rd ED | 20055236 | Nickel | 1105
DW Metal | SM 3111 B 23rd ED | 20055236 | Sodium | 1155
DW Metal | SM 3111 D 23rd ED | 20056831 | Barium | 1015
DW Metal | SM 3112 B 23rd ED | 20057845 | Mercury | 1095
DW Metal | SM 3113 B 23rd ED | 20058826 | Antimony | 1005
DW Metal | SM 3113 B 23rd ED | 20058826 | Arsenic | 1010
DW Metal | SM 3113 B 23rd ED | 20058826 | Barium | 1015
DW Metal | SM 3113 B 23rd ED | 20058826 | Beryllium | 1020
DW Metal | SM 3113 B 23rd ED | 20058826 | Cadmium | 1030
DW Metal | SM 3113 B 23rd ED | 20058826 | Chromium | 1040
DW Metal | SM 3113 B 23rd ED | 20058826 | Copper | 1055
DW Metal | SM 3113 B 23rd ED | 20058826 | Lead | 1075
DW Metal | SM 3113 B 23rd ED | 20058826 | Nickel | 1105
DW Metal | SM 3113 B 23rd ED | 20058826 | Selenium | 1140
DW Metal | SM 3114 B 23rd ED | 20059841 | Arsenic | 1010
DW Metal | SM 3114 B 23rd ED | 20059841 | Selenium | 1140
DW Metal | SM 3120 B 23rd ED | 20061056 | Barium | 1015
DW Metal | SM 3120 B 23rd ED | 20061056 | Beryllium | 1020
DW Metal | SM 3120 B 23rd ED | 20061056 | Calcium | 1035
DW Metal | SM 3120 B 23rd ED | 20061056 | Chromium | 1040
DW Metal | SM 3120 B 23rd ED | 20061056 | Copper | 1055
DW Metal | SM 3120 B 23rd ED | 20061056 | Magnesium | 1085
DW Metal | SM 3120 B 23rd ED | 20061056 | Nickel | 1105
DW Metal | SM 3120 B 23rd ED | 20061056 | Silica as SiO2 | 1990
DW Metal | SM 4500-SiO2 C 23rd ED | 20128432 | Silica as SiO2 | 1990
Bacteriology | EPA 1623 | 10236609 | Cryptosporidia | 2510
Bacteriology | EPA 1623.1 | 10236621 | Cryptosporidia | 2510
Bacteriology | Enterolert | 60030208 | Enterococci | 2520
Bacteriology | EPA 1600 | 10119854 | Enterococci | 2520
Bacteriology | SM 9230 B-04 | 20217645 | Enterococci | 2520
Bacteriology | SM 9230 C 23rd ED | 20217689 | Enterococci | 2520
Bacteriology | SM 9230 D 23rd ED | 20219685 | Enterococci | 2520
Bacteriology | Chromocult P/A | 60002508 | Escherichia coli | 2525
Bacteriology | EPA 1604 | 10236303 | Escherichia coli | 2525
Bacteriology | m-ColiBlue24 MF | 60031109 | Escherichia coli | 2525
Bacteriology | Modified Colitag (2009) P/A | 60032306 | Escherichia coli | 2525
Bacteriology | Modified Colitag 2.0 (2020) P/A | 60044157 | Escherichia coli | 2525
Bacteriology | Readycult | 60032408 | Escherichia coli | 2525
Bacteriology | SM 9221 F 23rd ED P/A | 20197448 | Escherichia coli | 2525
Bacteriology | SM 9222 J 23rd ED | 20210688 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colilert Quanti-Tray) 23rd ED | 20211443 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colilert) 23rd ED | 20214442 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colilert-18 Quanti-Tray) 23rd ED | 20213449 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colilert-18) 23rd ED | 20214431 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colisure Quanti-Tray) 23rd ED | 20230642 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colisure) 23rd ED | 20231634 | Escherichia coli | 2525
Bacteriology | Tecta EC/TC 1.0 (2014) | 60033354 | Escherichia coli | 2525
Bacteriology | Tecta EC/TC 2.0 (2017) | 60033365 | Escherichia coli | 2525
Bacteriology | SM 9221 B plus E (EC) 23rd ED | 20188709 | Fecal coliforms | 2530
Bacteriology | SM 9221 E (A1) 23rd ED | 20195635 | Fecal coliforms | 2530
Bacteriology | SM 9222 D 23rd ED | 20209238 | Fecal coliforms | 2530
Bacteriology | SimPlate | 60032602 | Heterotrophic plate count | 2555
Bacteriology | SM 9215 B (NWRI) 23rd ED |  | Heterotrophic plate count | 2555
Bacteriology | SM 9215 B (PCA) 23rd ED |  | Heterotrophic plate count | 2555
Bacteriology | Chromocult P/A | 60002508 | Total coliforms | 2500
Bacteriology | m-ColiBlue24 MF | 60031109 | Total coliforms | 2500
Bacteriology | Modified Colitag (2009) P/A | 60032306 | Total coliforms | 2500
Bacteriology | Modified Colitag 2.0 (2020) P/A | 60044157 | Total coliforms | 2500
Bacteriology | Readycult | 60032408 | Total coliforms | 2500
Bacteriology | SM 9221 B 23rd ED | 20186032 | Total coliforms | 2500
Bacteriology | SM 9222 B 23rd ED | 20197788 | Total coliforms | 2500
Bacteriology | SM 9222 C 23rd ED | 20209034 | Total coliforms | 2500
Bacteriology | SM 9222 J 23rd ED | 20210688 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colilert Quanti-Tray) 23rd ED | 20211443 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colilert) 23rd ED | 20214442 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colilert-18 Quanti-Tray) 23rd ED | 20213449 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colilert-18) 23rd ED | 20214431 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colisure Quanti-Tray) 23rd ED | 20230642 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colisure) 23rd ED | 20231634 | Total coliforms | 2500
Bacteriology | Tecta EC/TC 1.0 (2014) | 60033354 | Total coliforms | 2500
Bacteriology | Tecta EC/TC 2.0 (2017) | 60033365 | Total coliforms | 2500
Rad Chem | ASTM D3454-18 | 30013742 | Radium-226 | 2965
Rad Chem | EPA 00- 01 | 10000609 | Gross-beta | 2840
Rad Chem | EPA 00-01 | 10000609 | Gross-alpha | 2830
Rad Chem | EPA 00-02 (GPC) | 10234409 | Gross-alpha | 2830
Rad Chem | EPA 00-02 (SC) | 10234603 | Gross-alpha | 2830
Rad Chem | EPA 200.8 5.4 | 10014605 | Uranium (mass) | 1184
Rad Chem | EPA 900.0 (GPC) 1.0 (2018) | 10242634 | Gross-alpha | 2830
Rad Chem | EPA 900.0 (GPC) 1.0 (2018) | 10242634 | Gross-beta | 2840
Rad Chem | EPA 900.0 (SC) 1.0 (2018) | 10242645 | Gross-alpha | 2830
Rad Chem | EPA 900.0 (SC) 1.0 (2018) | 10242645 | Gross-beta | 2840
Rad Chem | EPA 901.1 | 10308608 | Gamma emitters | 2826
Rad Chem | EPA 902.0 | 10309203 | Iodine-131 | 2875
Rad Chem | EPA 903.0 (GPC) Rev. 1_2021 | 10244141 | Radium-226 | 2965
Rad Chem | EPA 903.0 (SC) Rev. 1_2021 | 10244210 | Radium-226 | 2965
Rad Chem | EPA 903.0_1 (GPC) | 10244141 | Total Alpha Radium | 2750
Rad Chem | EPA 903.0_1 (SC) |  | Total Alpha Radium | 2750
Rad Chem | EPA 903.1 (SC) Rev. 1_2021 | 10309645 | Radium-226 | 2965
Rad Chem | EPA 904.0_1980 | 10309805 | Radium-228 | 2970
Rad Chem | EPA 905 | 10310006 | Strontium-89 | 2995
Rad Chem | EPA 905 | 10310006 | Strontium-89, 90 | 3010
Rad Chem | EPA 905 | 10310006 | Strontium-90 | 3005
Rad Chem | EPA 906.0 | 10310200 | Tritium | 3030
Rad Chem | EPA 908 | 10310404 | Uranium | 3035
Rad Chem | EPA 908.1 | 10310608 | Uranium | 3035
Rad Chem | EPA Ra- 03 | 10311407 | Radium-226 | 2965
Rad Chem | EPA Ra- 04 | 10311601 | Radium-226 | 2965
Rad Chem | EPA Ra-05 | 10212803 | Radium-228 | 2970
Rad Chem | EPA Sr-04 | 10213000 | Strontium-89 | 2995
Rad Chem | EPA Sr-04 | 10213000 | Strontium-89, 90 | 3010
Rad Chem | EPA Sr-04 | 10213000 | Strontium-90 | 3005
Rad Chem | SM 7110 B (GPC) 23rd ED | 20156836 | Gross-alpha | 2830
Rad Chem | SM 7110 B (GPC) 23rd ED | 20156836 | Gross-beta | 2840
Rad Chem | SM 7110 C (GPC) 23rd ED | 20158832 | Gross-alpha | 2830
Rad Chem | SM 7110 C (SC) 23rd ED | 20159835 | Gross-alpha | 2830
Rad Chem | SM 7500-3H B 23rd ED | 20161437 | Tritium | 3030
Rad Chem | SM 7500-Ra B (GPC) 23rd ED | 20170438 | Radium-226 | 2965
Rad Chem | SM 7500-Ra B (SC) 23rd ED | 20171431 | Radium-226 | 2965
Rad Chem | SM 7500-Ra C 23rd ED | 20171839 | Radium-226 | 2965
Rad Chem | SM 7500-Ra D 23rd ED | 20173437 | Radium-228 | 2970
Rad Chem | SM 7500-Sr B 23rd ED | 20174838 | Strontium-89 | 2995
Rad Chem | SM 7500-Sr B 23rd ED | 20174838 | Strontium-89, 90 | 3010
Rad Chem | SM 7500-Sr B 23rd ED | 20174838 | Strontium-90 | 3005
Rad Chem | SM 7500-U B (GPC) 23rd ED | 20175831 | Uranium | 3035
Rad Chem | SM 7500-U B (SC) 23rd ED | 20176834 | Uranium | 3035
Rad Chem | SM 7500-U C 23rd ED | 20177837 | Uranium | 3035
Synthetic Organic | ASTM D5317-98 (03) | 300200509 | 2,4-D | 8545
Synthetic Organic | ASTM D5317-98 (03) | 300200509 | Pentachlorophenol | 6605
Synthetic Organic | ASTM D5317-98 (03) | 300200509 | Picloram | 8645
Synthetic Organic | ASTM D5317-98 (03) | 300200509 | Silvex (2,4,5-TP) | 8650
Synthetic Organic | EPA 1613 | 10120408 | 2,3,7,8-Tetrachlorodibenzo- p-dioxin (2,3,7,8-TCDD) | 9618
Synthetic Organic | EPA 505 2.1 | 10083406 | Alachlor | 7005
Synthetic Organic | EPA 505 2.1 | 10083406 | Aroclor-1016 (PCB-1016) | 8880
Synthetic Organic | EPA 505 2.1 | 10083406 | Aroclor-1221 (PCB-1221) | 8885
Synthetic Organic | EPA 505 2.1 | 10083406 | Aroclor-1232 (PCB-1232) | 8890
Synthetic Organic | EPA 505 2.1 | 10083406 | Aroclor-1242 (PCB-1242) | 8895
Synthetic Organic | EPA 505 2.1 | 10083406 | Aroclor-1248 (PCB-1248) | 8900
Synthetic Organic | EPA 505 2.1 | 10083406 | Aroclor-1254 (PCB-1254) | 8905
Synthetic Organic | EPA 505 2.1 | 10083406 | Aroclor-1260 (PCB-1260) | 8910
Synthetic Organic | EPA 505 2.1 | 10083406 | Atrazine | 7065
Synthetic Organic | EPA 505 2.1 | 10083406 | Chlordane (tech.) | 7250
Synthetic Organic | EPA 505 2.1 | 10083406 | Endrin | 7540
Synthetic Organic | EPA 505 2.1 | 10083406 | gamma-BHC (Lindane, gamma-HexachlorocyclohexanE) | 7120
Synthetic Organic | EPA 505 2.1 | 10083406 | Heptachlor | 7685
Synthetic Organic | EPA 505 2.1 | 10083406 | Heptachlor epoxide | 7690
Synthetic Organic | EPA 505 2.1 | 10083406 | Hexachlorobenzene | 6275
Synthetic Organic | EPA 505 2.1 | 10083406 | Hexachlorocyclopentadiene | 6285
Synthetic Organic | EPA 505 2.1 | 10083406 | Methoxychlor | 7810
Synthetic Organic | EPA 505 2.1 | 10083406 | Simazine | 8125
Synthetic Organic | EPA 505 2.1 | 10083406 | Toxaphene | 8250
Synthetic Organic | EPA 506 1.1 | 10084001 | bis(2-Ethylhexyl)adipate | 6062
Synthetic Organic | EPA 506 1.1 | 10084001 | Di(2-ethylhexyl) phthalate (bis(2-Ethylhexyl)phthalate, DEHP) | 6065
Synthetic Organic | EPA 507 | 10084807 | Alachlor | 7005
Synthetic Organic | EPA 507 | 10084807 | Atrazine | 7065
Synthetic Organic | EPA 507 | 10084807 | Simazine | 8125
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Aroclor-1016 (PCB-1016) | 8880
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Aroclor-1221 (PCB-1221) | 8885
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Aroclor-1232 (PCB-1232) | 8890
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Aroclor-1242 (PCB-1242) | 8895
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Aroclor-1248 (PCB-1248) | 8900
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Aroclor-1254 (PCB-1254) | 8905
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Aroclor-1260 (PCB-1260) | 8910
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Chlordane (tech.) | 7250
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Endrin | 7540
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | gamma-BHC (Lindane, gamma-HexachlorocyclohexanE) | 7120
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Heptachlor | 7685
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Heptachlor epoxide | 7690
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Hexachlorobenzene | 6275
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Hexachlorocyclopentadiene | 6285
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Methoxychlor | 7810
Synthetic Organic | EPA 508 Rev. 3.1 | 10085208 | Toxaphene | 8250
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Alachlor | 7005
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Aroclor-1016 (PCB-1016) | 8880
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Aroclor-1221 (PCB-1221) | 8885
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Aroclor-1232 (PCB-1232) | 8890
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Aroclor-1242 (PCB-1242) | 8895
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Aroclor-1248 (PCB-1248) | 8900
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Aroclor-1254 (PCB-1254) | 8905
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Aroclor-1260 (PCB-1260) | 8910
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Atrazine | 7065
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Chlordane (tech.) | 7250
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Endrin | 7540
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | gamma-BHC (Lindane, gamma-Hexachlorocyclohexane) | 7120
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Heptachlor | 7685
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Heptachlor epoxide | 7690
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Hexachlorobenzene | 6275
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Hexachlorocyclopentadiene | 6285
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Methoxychlor | 7810
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Simazine | 8125
Synthetic Organic | EPA 508.1 Rev. 2 | 10086405 | Toxaphene | 8250
Synthetic Organic | EPA 508A_1_1989 | 10085800 | Decachlorobiphenyl (BZ-209) | 9105
Synthetic Organic | EPA 515.1 Rev. 4.0 | 10087408 | 2,4-D | 8545
Synthetic Organic | EPA 515.1 Rev. 4.0 | 10087408 | Dalapon | 8555
Synthetic Organic | EPA 515.1 Rev. 4.0 | 10087408 | Dinoseb (2-sec-butyl-4,6-dinitrophenol, DNBP) | 8620
Synthetic Organic | EPA 515.1 Rev. 4.0 | 10087408 | Pentachlorophenol | 6605
Synthetic Organic | EPA 515.1 Rev. 4.0 | 10087408 | Picloram | 8645
Synthetic Organic | EPA 515.1 Rev. 4.0 | 10087408 | Silvex (2,4,5-TP) | 8650
Synthetic Organic | EPA 515.2 Rev. 1.1 | 10088003 | 2,4-D | 8545
Synthetic Organic | EPA 515.2 Rev. 1.1 | 10088003 | Dinoseb (2-sec-butyl-4,6-dinitrophenol, DNBP) | 8620
Synthetic Organic | EPA 515.2 Rev. 1.1 | 10088003 | Pentachlorophenol | 6605
Synthetic Organic | EPA 515.2 Rev. 1.1 | 10088003 | Picloram | 8645
Synthetic Organic | EPA 515.2 Rev. 1.1 | 10088003 | Silvex (2,4,5-TP) | 8650
Synthetic Organic | EPA 515.3 Rev. 1 | 10088401 | 2,4-D | 8545
Synthetic Organic | EPA 515.3 Rev. 1 | 10088401 | Dalapon | 8555
Synthetic Organic | EPA 515.3 Rev. 1 | 10088401 | Dinoseb (2-sec-butyl-4,6-dinitrophenol, DNBP) | 8620
Synthetic Organic | EPA 515.3 Rev. 1 | 10088401 | Pentachlorophenol | 6605
Synthetic Organic | EPA 515.3 Rev. 1 | 10088401 | Picloram | 8645
Synthetic Organic | EPA 515.3 Rev. 1 | 10088401 | Silvex (2,4,5-TP) | 8650
Synthetic Organic | EPA 515.4 Rev. 1 | 10088503 | 2,4-D | 8545
Synthetic Organic | EPA 515.4 Rev. 1 | 10088503 | Dalapon | 8555
Synthetic Organic | EPA 515.4 Rev. 1 | 10088503 | Dinoseb (2-sec-butyl-4,6-dinitrophenol, DNBP) | 8620
Synthetic Organic | EPA 515.4 Rev. 1 | 10088503 | Pentachlorophenol | 6605
Synthetic Organic | EPA 515.4 Rev. 1 | 10088503 | Picloram | 8645
Synthetic Organic | EPA 515.4 Rev. 1 | 10088503 | Silvex (2,4,5-TP) | 8650
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Alachlor | 7005
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Aroclor-1016 (PCB-1016) | 8880
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Aroclor-1221 (PCB-1221) | 8885
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Aroclor-1232 (PCB-1232) | 8890
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Aroclor-1242 (PCB-1242) | 8895
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Aroclor-1248 (PCB-1248) | 8900
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Aroclor-1254 (PCB-1254) | 8905
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Aroclor-1260 (PCB-1260) | 8910
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Atrazine | 7065
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Benzo(a)pyrene | 5580
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | bis(2-Ethylhexyl)adipate | 6062
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Chlordane (tech.) | 7250
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Di(2-ethylhexyl) phthalate (bis(2-Ethylhexyl)phthalate, DEHP) | 6065
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Endrin | 7540
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | gamma-BHC (Lindane, gamma-HexachlorocyclohexanE) | 7120
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Heptachlor | 7685
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Heptachlor epoxide | 7690
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Hexachlorobenzene | 6275
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Hexachlorocyclopentadiene | 6285
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Methoxychlor | 7810
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Pentachlorophenol | 6605
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Simazine | 8125
Synthetic Organic | EPA 525.2 Rev. 2 | 10090003 | Toxaphene | 8250
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Alachlor | 7005
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Aroclor-1016 (PCB-1016) | 8880
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Aroclor-1221 (PCB-1221) | 8885
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Aroclor-1232 (PCB-1232) | 8890
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Aroclor-1242 (PCB-1242) | 8895
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Aroclor-1248 (PCB-1248) | 8900
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Aroclor-1254 (PCB-1254) | 8905
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Aroclor-1260 (PCB-1260) | 8910
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Atrazine | 7065
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Benzo(a)pyrene | 5580
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | bis(2-Ethylhexyl)adipate | 6062
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Chlordane (tech.) | 7250
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Di(2-ethylhexyl) phthalate (bis(2-Ethylhexyl)phthalate, DEHP) | 6065
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Endrin | 7540
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | gamma-BHC (Lindane, gamma-HexachlorocyclohexanE) | 7120
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Heptachlor | 7685
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Heptachlor epoxide | 7690
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Hexachlorobenzene | 6275
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Hexachlorocyclopentadiene | 6285
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Methoxychlor | 7810
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Pentachlorophenol | 6605
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Simazine | 8125
Synthetic Organic | EPA 525.3 Rev. 1.0 | 10287500 | Toxaphene | 8250
Synthetic Organic | EPA 531.1 Rev. 3.1 | 10091006 | Carbofuran | 7205
Synthetic Organic | EPA 531.1 Rev. 3.1 | 10091006 | Oxamyl | 7940
Synthetic Organic | EPA 531.2 Rev. 1 | 10091302 | Carbofuran | 7205
Synthetic Organic | EPA 531.2 Rev. 1 | 10091302 | Oxamyl | 7940
Synthetic Organic | EPA 547 | 10092009 | Glyphosate | 9411
Synthetic Organic | EPA 548.1 Rev. 1 | 10092805 | Endothall | 7525
Synthetic Organic | EPA 549.2 Rev. 1 | 10093400 | Diquat | 9390
Synthetic Organic | EPA 550 | 10093808 | Benzo(a)pyrene | 5580
Synthetic Organic | EPA 550.1 | 10094209 | Benzo(a)pyrene | 5580
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | 1,1,1-Trichloroethane | 5160
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | 1,1,2-Trichloroethane | 5165
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | 1,2-Dibromo-3-chloropropane (DBCP) | 4570
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | 1,2-Dibromoethane (EDB, Ethylene dibromide) | 4585
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Alachlor | 7005
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Atrazine | 7065
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Bromodichloromethane | 4395
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Bromoform | 4400
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Carbon tetrachloride | 4455
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Chloroform | 4505
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Dibromochloromethane | 4575
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Endrin | 7540
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | gamma-BHC (Lindane, gamma-HexachlorocyclohexanE) | 7120
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Heptachlor | 7685
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Heptachlor epoxide | 7690
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Hexachlorobenzene | 6275
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Hexachlorocyclopentadiene | 6285
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Methoxychlor | 7810
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Simazine | 8125
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Tetrachloroethylene | 5115
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Total Trihalomethanes | 5205
Synthetic Organic | EPA 551.1 Rev. 1 | 10094801 | Trichloroethene (Trichloroethylene) | 5170
Synthetic Organic | EPA 552.1 Rev. 1 | 10095406 | Bromoacetic acid | 9312
Synthetic Organic | EPA 552.1 Rev. 1 | 10095406 | Chloroacetic acid | 9336
Synthetic Organic | EPA 552.1 Rev. 1 | 10095406 | Dalapon | 8555
Synthetic Organic | EPA 552.1 Rev. 1 | 10095406 | Dibromoacetic acid | 9357
Synthetic Organic | EPA 552.1 Rev. 1 | 10095406 | Dichloroacetic acid | 9360
Synthetic Organic | EPA 552.1 Rev. 1 | 10095406 | Total haloacetic acids | 9414
Synthetic Organic | EPA 552.1 Rev. 1 | 10095406 | Trichloroacetic acid | 9642
Synthetic Organic | EPA 552.2 Rev. 1 | 10095804 | Bromoacetic acid | 9312
Synthetic Organic | EPA 552.2 Rev. 1 | 10095804 | Chloroacetic acid | 9336
Synthetic Organic | EPA 552.2 Rev. 1 | 10095804 | Dalapon | 8555
Synthetic Organic | EPA 552.2 Rev. 1 | 10095804 | Dibromoacetic acid | 9357
Synthetic Organic | EPA 552.2 Rev. 1 | 10095804 | Dichloroacetic acid | 9360
Synthetic Organic | EPA 552.2 Rev. 1 | 10095804 | Total haloacetic acids | 9414
Synthetic Organic | EPA 552.2 Rev. 1 | 10095804 | Trichloroacetic acid | 9642
Synthetic Organic | EPA 552.3 Rev. 1 | 10239608 | Bromoacetic acid | 9312
Synthetic Organic | EPA 552.3 Rev. 1 | 10239608 | Chloroacetic acid | 9336
Synthetic Organic | EPA 552.3 Rev. 1 | 10239608 | Dalapon | 8555
Synthetic Organic | EPA 552.3 Rev. 1 | 10239608 | Dibromoacetic acid | 9357
Synthetic Organic | EPA 552.3 Rev. 1 | 10239608 | Dichloroacetic acid | 9360
Synthetic Organic | EPA 552.3 Rev. 1 | 10239608 | Total haloacetic acids | 9414
Synthetic Organic | EPA 552.3 Rev. 1 | 10239608 | Trichloroacetic acid | 9642
Synthetic Organic | EPA 555 Rev. 1 | 10096807 | 2,4-D | 8545
Synthetic Organic | EPA 555 Rev. 1 | 10096807 | Dinoseb (2-sec-butyl-4,6-dinitrophenol, DNBP) | 8620
Synthetic Organic | EPA 555 Rev. 1 | 10096807 | Pentachlorophenol | 6605
Synthetic Organic | EPA 555 Rev. 1 | 10096807 | Picloram | 8645
Synthetic Organic | EPA 555 Rev. 1 | 10096807 | Silvex (2,4,5-TP) | 8650
Synthetic Organic | SM 6251 B 23rd ED | 20149035 | Bromoacetic acid | 9312
Synthetic Organic | SM 6251 B 23rd ED | 20149035 | Chloroacetic acid | 9336
Synthetic Organic | SM 6251 B 23rd ED | 20149035 | Dibromoacetic acid | 9357
Synthetic Organic | SM 6251 B 23rd ED | 20149035 | Dichloroacetic acid | 9360
Synthetic Organic | SM 6251 B 23rd ED | 20149035 | Total haloacetic acids | 9414
Synthetic Organic | SM 6251 B 23rd ED | 20149035 | Trichloroacetic acid | 9642
Synthetic Organic | SM 6610 B 23rd ED | 20030937 | Carbofuran | 7205
Synthetic Organic | SM 6610 B 23rd ED | 20030937 | Oxamyl | 7940
Synthetic Organic | SM 6651 B 23rd ED | 20155855 | Glyphosate | 9411
VOC | EPA 502.2 2.1 | 10082209 | 1,1,1-Trichloroethane | 5160
VOC | EPA 502.2 2.1 | 10082209 | 1,1,2-Trichloroethane | 5165
VOC | EPA 502.2 2.1 | 10082209 | 1,1-Dichloroethylene | 4640
VOC | EPA 502.2 2.1 | 10082209 | 1,2,4-Trichlorobenzene | 5155
VOC | EPA 502.2 2.1 | 10082209 | 1,2-Dichlorobenzene | 4610
VOC | EPA 502.2 2.1 | 10082209 | 1,2-Dichloroethane | 4635
VOC | EPA 502.2 2.1 | 10082209 | 1,2-Dichloropropane | 4655
VOC | EPA 502.2 2.1 | 10082209 | 1,4-Dichlorobenzene | 4620
VOC | EPA 502.2 2.1 | 10082209 | Benzene | 4375
VOC | EPA 502.2 2.1 | 10082209 | Bromodichloromethane | 4395
VOC | EPA 502.2 2.1 | 10082209 | Bromoform | 4400
VOC | EPA 502.2 2.1 | 10082209 | Carbon tetrachloride | 4455
VOC | EPA 502.2 2.1 | 10082209 | Chlorobenzene | 4475
VOC | EPA 502.2 2.1 | 10082209 | Chloroform | 4505
VOC | EPA 502.2 2.1 | 10082209 | cis-1,2-Dichloroethylene | 4645
VOC | EPA 502.2 2.1 | 10082209 | Dibromochloromethane | 4575
VOC | EPA 502.2 2.1 | 10082209 | Ethylbenzene | 4765
VOC | EPA 502.2 2.1 | 10082209 | Methylene chloride (Dichloromethane) | 4975
VOC | EPA 502.2 2.1 | 10082209 | Styrene | 5100
VOC | EPA 502.2 2.1 | 10082209 | Tetrachloroethylene | 5115
VOC | EPA 502.2 2.1 | 10082209 | Toluene | 5140
VOC | EPA 502.2 2.1 | 10082209 | Total Trihalomethanes | 5205
VOC | EPA 502.2 2.1 | 10082209 | trans-1,2-Dicloroethylene | 4700
VOC | EPA 502.2 2.1 | 10082209 | Trichloroethene (Trichloroethylene) | 5170
VOC | EPA 502.2 2.1 | 10082209 | Vinyl chloride | 5235
VOC | EPA 502.2 2.1 | 10082209 | Xylene (total) | 5260
VOC | EPA 504.1 1.1 | 10082801 | 1,2-Dibromo-3-chloropropane (DBCP) | 4570
VOC | EPA 504.1 1.1 | 10082801 | 1,2-Dibromoethane (EDB, Ethylene dibromide) | 4585
VOC | EPA 524.2 Rev. 4.1 | 10088809 | 1,1,1-Trichloroethane | 5160
VOC | EPA 524.2 Rev. 4.1 | 10088809 | 1,1,2-Trichloroethane | 5165
VOC | EPA 524.2 Rev. 4.1 | 10088809 | 1,1-Dichloroethylene | 4640
VOC | EPA 524.2 Rev. 4.1 | 10088809 | 1,2,4-Trichlorobenzene | 5155
VOC | EPA 524.2 Rev. 4.1 | 10088809 | 1,2-Dichlorobenzene | 4610
VOC | EPA 524.2 Rev. 4.1 | 10088809 | 1,2-Dichloroethane | 4635
VOC | EPA 524.2 Rev. 4.1 | 10088809 | 1,2-Dichloropropane | 4655
VOC | EPA 524.2 Rev. 4.1 | 10088809 | 1,4-Dichlorobenzene | 4620
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Benzene | 4375
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Bromodichloromethane | 4395
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Bromoform | 4400
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Carbon tetrachloride | 4455
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Chlorobenzene | 4475
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Chloroform | 4505
VOC | EPA 524.2 Rev. 4.1 | 10088809 | cis-1,2-Dichloroethylene | 4645
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Dibromochloromethane | 4575
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Ethylbenzene | 4765
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Methylene chloride (Dichloromethane) | 4975
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Styrene | 5100
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Tetrachloroethylene | 5115
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Toluene | 5140
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Total Trihalomethanes | 5205
VOC | EPA 524.2 Rev. 4.1 | 10088809 | trans-1,2-Dicloroethylene | 4700
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Trichloroethene (Trichloroethylene) | 5170
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Vinyl chloride | 5235
VOC | EPA 524.2 Rev. 4.1 | 10088809 | Xylene (total) | 5260
VOC | EPA 524.3 Rev. 1.0 | 10089302 | 1,1,1-Trichloroethane | 5160
VOC | EPA 524.3 Rev. 1.0 | 10089302 | 1,1,2-Trichloroethane | 5165
VOC | EPA 524.3 Rev. 1.0 | 10089302 | 1,1-Dichloroethylene | 4640
VOC | EPA 524.3 Rev. 1.0 | 10089302 | 1,2,4-Trichlorobenzene | 5155
VOC | EPA 524.3 Rev. 1.0 | 10089302 | 1,2-Dibromo-3-chloropropane (DBCP) | 4570
VOC | EPA 524.3 Rev. 1.0 | 10089302 | 1,2-Dibromoethane (EDB, Ethylene dibromide) | 4585
VOC | EPA 524.3 Rev. 1.0 | 10089302 | 1,2-Dichlorobenzene | 4610
VOC | EPA 524.3 Rev. 1.0 | 10089302 | 1,2-Dichloroethane | 4635
VOC | EPA 524.3 Rev. 1.0 | 10089302 | 1,2-Dichloropropane | 4655
VOC | EPA 524.3 Rev. 1.0 | 10089302 | 1,4-Dichlorobenzene | 4620
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Benzene | 4375
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Bromodichloromethane | 4395
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Bromoform | 4400
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Carbon tetrachloride | 4455
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Chlorobenzene | 4475
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Chloroform | 4505
VOC | EPA 524.3 Rev. 1.0 | 10089302 | cis-1,2-Dichloroethylene | 4645
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Dibromochloromethane | 4575
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Ethylbenzene | 4765
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Methylene chloride (Dichloromethane) | 4975
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Styrene | 5100
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Tetrachloroethylene | 5115
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Toluene | 5140
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Total Trihalomethanes | 5205
VOC | EPA 524.3 Rev. 1.0 | 10089302 | trans-1,2-Dicloroethylene | 4700
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Trichloroethene (Trichloroethylene) | 5170
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Vinyl chloride | 5235
VOC | EPA 524.3 Rev. 1.0 | 10089302 | Xylene (total) | 5260
VOC | EPA 524.4 Rev. 1.0 | 10089335 | 1,1,1-Trichloroethane | 5160
VOC | EPA 524.4 Rev. 1.0 | 10089335 | 1,1,2-Trichloroethane | 5165
VOC | EPA 524.4 Rev. 1.0 | 10089335 | 1,1-Dichloroethylene | 4640
VOC | EPA 524.4 Rev. 1.0 | 10089335 | 1,2,4-Trichlorobenzene | 5155
VOC | EPA 524.4 Rev. 1.0 | 10089335 | 1,2-Dichlorobenzene | 4610
VOC | EPA 524.4 Rev. 1.0 | 10089335 | 1,2-Dichloroethane | 4635
VOC | EPA 524.4 Rev. 1.0 | 10089335 | 1,2-Dichloropropane | 4655
VOC | EPA 524.4 Rev. 1.0 | 10089335 | 1,4-Dichlorobenzene | 4620
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Benzene | 4375
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Bromodichloromethane | 4395
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Bromoform | 4400
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Carbon tetrachloride | 4455
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Chlorobenzene | 4475
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Chloroform | 4505
VOC | EPA 524.4 Rev. 1.0 | 10089335 | cis-1,2-Dichloroethylene | 4645
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Dibromochloromethane | 4575
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Ethylbenzene | 4765
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Methylene chloride (Dichloromethane) | 4975
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Styrene | 5100
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Tetrachloroethylene | 5115
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Toluene | 5140
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Total Trihalomethanes | 5205
VOC | EPA 524.4 Rev. 1.0 | 10089335 | trans-1,2-Dicloroethylene | 4700
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Trichloroethene (Trichloroethylene) | 5170
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Vinyl chloride | 5235
VOC | EPA 524.4 Rev. 1.0 | 10089335 | Xylene (total) | 5260

## Pending New Rules
Mark selections according to this key: | x - use to note items currently on the lab's scope that you wish to maintain. (optional) |  | a - use to note items to add to current scope | w - use to note withdrawals from current scope
Category | Method Description | NELAC Method Code | Analyte Name | NELAC Analyte Code | Drinking Water Matrix | Micro Presence/ Absense | Micro Enumeration
General Chem | SM 2320 B 24th ED | 20045458 | Alkalinity as CaCO3 | 1505
General Chem | SM 4110 B 24th ED | 20076862 | Chloride | 1575
General Chem | SM 4500-Cl¯ B 24th ED | 20084473 | Chloride | 1575
General Chem | SM 4500-Cl¯ D 24th ED | 20085614 | Chloride | 1575
General Chem | SM 4500-ClO2 E 24th ED | 20091069 | Chlorine dioxide, res. disinfectant | 1590
General Chem | SM 2120 B 24th ED | 20039058 | Color | 1605
General Chem | ASTM D1125-14A | 30021637 | Conductivity | 1610
General Chem | SM 2510 B 24th ED | 20048457 | Conductivity | 1610
General Chem | SM 5310 B 24th ED | 20137659 | Dissolved Organic Carbon | 1710
General Chem | SM 5310 C 24th ED | 20138652 | Dissolved Organic Carbon | 1710
General Chem | SM 4110 B 24th ED | 20076862 | Fluoride | 1730
General Chem | SM 4500-F¯ C 24th ED | 20102254 | Fluoride | 1730
General Chem | SM 4500-F¯ D 24th ED | 20103257 | Fluoride | 1730
General Chem | SM 4500-F¯ E 24th ED | 20104250 | Fluoride | 1730
General Chem | SM 5540 C 24th ED | 20144858 | Foaming agents | 1735
General Chem | SM 4500-CN¯ F 24th ED | 20096644 | Free Cyanide | 1640
General Chem | SM 4500-CN¯ G 24th ED | 20097034 | Free Cyanide | 1640
General Chem | SM 4110 B 24th ED | 20076862 | Nitrate as N | 1810
General Chem | SM 4500-NO3¯ D 24th ED | 20113820 | Nitrate as N | 1810
General Chem | SM 4500-NO3¯ E 24th ED | 20114630 | Nitrate as N | 1810
General Chem | SM 4500-NO3¯ F 24th ED | 20116432 | Nitrate as N | 1810
General Chem | SM 4110 B 24th ED | 20076862 | Nitrate plus Nitrite as N | 1820
General Chem | SM 4500-NO3¯ E 24th ED | 20114630 | Nitrate plus Nitrite as N | 1820
General Chem | SM 4500-NO3¯ F 24th ED | 20116432 | Nitrate plus Nitrite as N | 1820
General Chem | SM 4110 B 24th ED | 20076862 | Nitrite as N | 1840
General Chem | SM 4500-NO2¯ B 24th ED | 20112850 | Nitrite as N | 1840
General Chem | SM 4500-NO3¯ E 24th ED | 20114630 | Nitrite as N | 1840
General Chem | SM 4500-NO3¯ F 24th ED | 20116432 | Nitrite as N | 1840
General Chem | SM 2150 B 24th ED | 20043656 | Odor | 1855
General Chem | SM 4110 B 24th ED | 20076862 | Orthophosphate as P | 1870
General Chem | SM 4500-P E 24th ED | 20124054 | Orthophosphate as P | 1870
General Chem | SM 4500-P F 24th ED | 20124850 | Orthophosphate as P | 1870
General Chem | SM 4500-H+ B 24th ED | 20105059 | pH | 1900
General Chem | SM 4500-Cl D 24th ED | 20079861 | Residual Free Chlorine | 1945
General Chem | SM 4500-Cl F 24th ED | 20080664 | Residual Free Chlorine | 1945
General Chem | SM 4500-Cl G 24th ED | 20081463 | Residual Free Chlorine | 1945
General Chem | SM 4500-Cl H 24th ED | 20082466 | Residual Free Chlorine | 1945
General Chem | SM 2540 C 24th ED | 20050468 | Residue-filterable (TDS) | 1955
General Chem | SM 4110 B 24th ED | 20076862 | Sulfate | 2000
General Chem | SM 4500-SO4¯ C 24th ED | 20131242 | Sulfate | 2000
General Chem | SM 4500-SO4¯ D 24th ED | 20132041 | Sulfate | 2000
General Chem | SM 4500-SO4¯ E 24th ED | 20132869 | Sulfate | 2000
General Chem | SM 4500-SO4¯ F 24th ED | 20133657 | Sulfate | 2000
General Chem | SM 2550 B 23rd ED | 20053149 | Temperature, deg. C | 2030
General Chem | SM 2550 B 24th ED | 20053161 | Temperature, deg. C | 2030
General Chem | SM 4500-CN¯ C 24th ED | 20095462 | Total Cyanide | 1645
General Chem | SM 4500-CN¯ E 24th ED | 20096246 | Total Cyanide | 1645
General Chem | SM 4500-CN¯ F 24th ED | 20096644 | Total Cyanide | 1645
General Chem | SM 4500-CN¯ G 24th ED | 20097034 | Total Cyanide | 1645
General Chem | SM 5310 B 24th ED | 20137659 | Total Organic Carbon | 2040
General Chem | SM 5310 C 24th ED | 20138652 | Total Organic Carbon | 2040
General Chem | SM 4500-Cl D 24th ED | 20079861 | Total Residual Chlorine | 1940
General Chem | SM 4500-Cl E 24th ED | 20080437 | Total Residual Chlorine | 1940
General Chem | SM 4500-Cl F 24th ED | 20080664 | Total Residual Chlorine | 1940
General Chem | SM 4500-Cl G 24th ED | 20081463 | Total Residual Chlorine | 1940
General Chem | SM 4500-Cl I 24th ED | 20083629 | Total Residual Chlorine | 1940
General Chem | SM 2130 B 24th ED | 20042653 | Turbidity | 2055
General Chem | SM 5910 B 24th ED | 20146252 | UV 254 | 2060
DW Metal | SM 3111 B 24th ED | 20055258 | Calcium | 1035
DW Metal | SM 3111 B 24th ED | 20055258 | Copper | 1055
DW Metal | SM 3111 B 24th ED | 20055258 | Iron | 1070
DW Metal | SM 3111 B 24th ED | 20055258 | Magnesium | 1085
DW Metal | SM 3111 B 24th ED | 20055258 | Manganese | 1090
DW Metal | SM 3111 B 24th ED | 20055258 | Nickel | 1105
DW Metal | SM 3111 B 24th ED | 20055258 | Silver | 1150
DW Metal | SM 3111 B 24th ED | 20055258 | Sodium | 1155
DW Metal | SM 3111 B 24th ED | 20055258 | Zinc | 1190
DW Metal | SM 3111 D 24th ED | 20056853 | Aluminum | 1000
DW Metal | SM 3111 D 24th ED | 20056853 | Barium | 1015
DW Metal | SM 3112 B 24th ED | 20057867 | Mercury | 1095
DW Metal | SM 3113 B 24th ED | 20059114 | Aluminum | 1000
DW Metal | SM 3113 B 24th ED | 20059114 | Antimony | 1005
DW Metal | SM 3113 B 24th ED | 20059114 | Arsenic | 1010
DW Metal | SM 3113 B 24th ED | 20059114 | Barium | 1015
DW Metal | SM 3113 B 24th ED | 20059114 | Beryllium | 1020
DW Metal | SM 3113 B 24th ED | 20059114 | Cadmium | 1030
DW Metal | SM 3113 B 24th ED | 20059114 | Chromium | 1040
DW Metal | SM 3113 B 24th ED | 20059114 | Copper | 1055
DW Metal | SM 3113 B 24th ED | 20059114 | Iron | 1070
DW Metal | SM 3113 B 24th ED | 20059114 | Lead | 1075
DW Metal | SM 3113 B 24th ED | 20059114 | Manganese | 1090
DW Metal | SM 3113 B 24th ED | 20059114 | Nickel | 1105
DW Metal | SM 3113 B 24th ED | 20059114 | Selenium | 1140
DW Metal | SM 3113 B 24th ED | 20059114 | Silver | 1150
DW Metal | SM 3114 B 24th ED | 20059863 | Arsenic | 1010
DW Metal | SM 3114 B 24th ED | 20059863 | Selenium | 1140
DW Metal | SM 3120 B 24th ED | 20061078 | Aluminum | 1000
DW Metal | SM 3120 B 24th ED | 20061078 | Barium | 1015
DW Metal | SM 3120 B 24th ED | 20061078 | Beryllium | 1020
DW Metal | SM 3120 B 24th ED | 20061078 | Calcium | 1035
DW Metal | SM 3120 B 24th ED | 20061078 | Chromium | 1040
DW Metal | SM 3120 B 24th ED | 20061078 | Copper | 1055
DW Metal | SM 3120 B 24th ED | 20061078 | Iron | 1070
DW Metal | SM 3120 B 24th ED | 20061078 | Magnesium | 1085
DW Metal | SM 3120 B 24th ED | 20061078 | Manganese | 1090
DW Metal | SM 3120 B 24th ED | 20061078 | Nickel | 1105
DW Metal | SM 3120 B 24th ED | 20061078 | Silica as SiO2 | 1990
DW Metal | SM 3120 B 24th ED | 20061078 | Silver | 1150
DW Metal | SM 3120 B 24th ED | 20061078 | Zinc | 1190
DW Metal | SM 4500-SiO2 C 24th ED | 20128454 | Silica as SiO2 | 1990
Bacteriology | SM 9230 C 24th ED | 20217703 | Enterococci | 2520
Bacteriology | SM 9230 D 24th ED | 20219721 | Enterococci | 2520
Bacteriology | SM 9221 F 24th ED P/A | 20197482 | Escherichia coli | 2525
Bacteriology | SM 9222 J 24th ED | 20210702 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colilert Quanti-Tray) 24th ED | 20211465 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colilert) 24th ED | 20214464 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colilert-18 Quanti-Tray) 24th ED | 20213461 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colilert-18) 24th ED | 20213472 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colisure Quanti-Tray) 24th ED | 20230664 | Escherichia coli | 2525
Bacteriology | SM 9223 B (Colisure) 24th ED | 20231656 | Escherichia coli | 2525
Bacteriology | SM 9221 E (A1) 24th ED | 20195657 | Fecal coliforms | 2530
Bacteriology | SM 9222 D 24th ED | 20209250 | Fecal coliforms | 2530
Bacteriology | SM 9221 B 23rd ED | 20186054 | Total coliforms | 2500
Bacteriology | SM 9222 B 24th ED | 20197799 | Total coliforms | 2500
Bacteriology | SM 9222 C 24th ED | 20209056 | Total coliforms | 2500
Bacteriology | SM 9222 J 23rd ED | 20210702 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colilert Quanti-Tray) 24th ED | 20211465 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colilert) 24th ED | 20214464 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colilert-18 Quanti-Tray) 24th ED | 20213461 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colilert-18) 24th ED | 20213472 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colisure Quanti-Tray) 24th ED | 20230664 | Total coliforms | 2500
Bacteriology | SM 9223 B (Colisure) 24th ED | 20231656 | Total coliforms | 2500
Rad Chem | SM 7110 B (GPC) 24th ED | 20156858 | Gross-alpha | 2830
Rad Chem | SM 7110 C (GPC) 24th ED | 20158854 | Gross-alpha | 2830
Rad Chem | SM 7110 C (SC) 24th ED | 20159857 | Gross-alpha | 2830
Rad Chem | SM 7110 B (GPC) 24th ED | 20156858 | Gross-beta | 2840
Rad Chem | ASTM D3454-21 | 30013753 | Radium-226 | 2965
Rad Chem | SM 7500-Ra B (GPC) 24th ED | 20170450 | Radium-226 | 2965
Rad Chem | SM 7500-Ra B (SC) 24th ED | 20171453 | Radium-226 | 2965
Rad Chem | SM 7500-Ra C 24th ED | 20171851 | Radium-226 | 2965
Rad Chem | EPA 904.0 Rev. 1_2022 | 10309827 | Radium-228 | 2970
Rad Chem | SM 7500-Ra D 24th ED | 20173459 | Radium-228 | 2970
Rad Chem | SM 7500-Sr B 24th ED | 20174850 | Strontium-89 | 2995
Rad Chem | SM 7500-Sr B 23rd ED | 20174850 | Strontium-89, 90 | 3010
Rad Chem | SM 7500-Sr B 23rd ED | 20174850 | Strontium-90 | 3005
Rad Chem | SM 7500-3H B 24th ED | 20161459 | Tritium | 3030
Rad Chem | SM 7500-U B (GPC) 24th ED | 20175853 | Uranium | 3035
Rad Chem | SM 7500-U B (SC) 24th ED | 20176856 | Uranium | 3035
Rad Chem | SM 7500-U C 24th ED | 20177859 | Uranium | 3035
Synthetic Organic | EPA 533 | 10091619 | Hexafluoropropylene oxide dimer acid (HFPO-DA) (GenX) | 9460
Synthetic Organic | EPA 533 | 10091619 | Perfluorobutane sulfonate (PFBS) | 6911
Synthetic Organic | EPA 533 | 10091619 | Perfluorohexane sulfonate (PFHxS) | 6910
Synthetic Organic | EPA 533 | 10091619 | Perfluorononanoate (PFNA) | 6930
Synthetic Organic | EPA 533 | 10091619 | Perfluorooctanesulfonic acid (PFOS) | 6931
Synthetic Organic | EPA 533 | 10091619 | Perfluorooctanoic acid (PFOA) | 6912
Synthetic Organic | EPA 537.1_2 (2020) | 10091595 | Hexafluoropropylene oxide dimer acid (HFPO-DA) (GenX) | 9460
Synthetic Organic | EPA 537.1_2 (2020) | 10091595 | Perfluorobutane sulfonate (PFBS) | 6911
Synthetic Organic | EPA 537.1_2 (2020) | 10091595 | Perfluorohexane sulfonate (PFHxS) | 6910
Synthetic Organic | EPA 537.1_2 (2020) | 10091595 | Perfluorononanoate (PFNA) | 6930
Synthetic Organic | EPA 537.1_2 (2020) | 10091595 | Perfluorooctanesulfonic acid (PFOS) | 6931
Synthetic Organic | EPA 537.1_2 (2020) | 10091595 | Perfluorooctanoic acid (PFOA) | 6912
Synthetic Organic | SM 6251 B 24th ED | 20149057 | Bromoacetic acid | 9312
Synthetic Organic | SM 6251 B 24th ED | 20149057 | Chloroacetic acid | 9336
Synthetic Organic | SM 6251 B 24th ED | 20149057 | Dibromoacetic acid | 9357
Synthetic Organic | SM 6251 B 24th ED | 20149057 | Dichloroacetic acid | 9360
Synthetic Organic | SM 6251 B 24th ED | 20149057 | Total haloacetic acids | 9414
Synthetic Organic | SM 6251 B 24th ED | 20149057 | Trichloroacetic acid | 9642
Synthetic Organic | SM 6610 B 24th ED | 20030948 | Carbofuran | 7205
Synthetic Organic | SM 6610 B 24th ED | 20030948 | Oxamyl | 7940
Synthetic Organic | SM 6651 B 24th ED | 20155877 | Glyphosate | 9411

## Additional Requests
Please enter details for any methods and analytes that you wish to request that are not listed in the other tabs. The DEQ LAP will consider the requests. We make no guarantee that such requests will be granted.
Method Description | NELAC Method Code | Analyte Name | NELAC Analyte Code | Drinking Water Matrix | Micro Presence/ Absense | Micro Enumeration