[Water System Name]

Emergency Response Plan

CHANGE HISTORY

Please describe the changes made to this plan since its original development, who made the changes and on what date the changes were incorporated into this plan.

| description of change | NAME/TITLE | Date |
| --- | --- | --- |
| Creation of Plan | ODEQ |  |

TABLE OF CONTENTS

UTILITY OVERVIEW AND EMERGENCY RESPONSE PLAN SPECIFICS	1

I.	Utility Overview	1

II.	Key Local Services	1

III.	Utility Information	2

CONTACT INFORMATION [Internal and External]	3

IV.	Personnel Information	3

V.	Emergency Response Roles	3

VI.	External Partner Communication	4

Local Partners	4

State Partners	4

Federal Partners	4

VII.	Critical Customer Communication	5

VIII.	Media Outreach	6

PRIMARY UTILITY COMPONENTS	7

IX.	Primary Utility Components	7

X.	Industry Chemical Handling and Storage Facilities	8

XI.	Safety	9

XII.	Response Resources	10

EMERGENCY PLANS AND PROCEDURES	11

XIII.	Core Response Procedures	11

XIV.	Alternate Drinking Water Supplies	13

XV.	Detection Strategies	14

XVI.	Incident-Specific Response Procedures	14

Emergency Response Plan Approval	15

# UTILITY OVERVIEW AND EMERGENCY RESPONSE PLAN SPECIFICS

## Utility Overview

Please fill in the information below as indicated.

| Utility overview |  |
| --- | --- |
| PWSID | [PWSID] |
| Street Address | [Utility Address] |
| City, State Zip Code | [Address Pt 2] |
| Utility Phone number |  |
| Population Served |  |
| Prepared by (Utility representative) |  |
| Reviewed by (if applicable) |  |
| Date completed |  |

## Key Local Services

Note the closest locations of key logistical and medical services that you or mutual aid and assistance providers may need during an incident. Include a map if available.

| Essential Services |  |  |
| --- | --- | --- |
| Facility Type/Name | Location | Contact Information |
| Hospital |  |  |
| Gas Station |  |  |
| Pharmacy |  |  |
| ATM |  |  |
| Grocery Store |  |  |
| Other |  |  |

## Utility Information

During an incident, you need to have system information about your water utility readily available for your personnel, first responders, repair contractors/vendors, the media, etc.

| Utility Information |  |
| --- | --- |
| PWSID | [PWSID] |
| Utility name and address | [Water System Name] [Utility Address] [Address Pt 2] |
| Directions to utility from major roadway, include lat./long. Coordinates if available |  |
| Total population served and total number of service connections |  |
| Name, title, phone number of primary contact (e.g., ERP Lead) |  |
| Alternate contact |  |
| Location of treatment, distribution, collection schematics and operation manuals |  |

Use this checklist to ensure the following additional utility information (as applicable) is included as a part of your ERP.

☐	Map of distribution systems

☐	Pressure boundary map

☐	Process flow diagram

☐	Site plans and “as built” drawings for the following components of your system (as applicable):

  - Pumping and storage facilities

  - Water treatment facilities

  - Chemical storage locations

  - Booster pump stations

  - Pressure-regulating valve (PRV) sites

☐	Distribution system diagrams and instrumentation information

☐	Equipment specifications and operation instructions

☐	Emergency power and light generation operation specifications

☐	Supervisory Control and Data Acquisition (SCADA) system operation instructions

☐	Communications systems operation instructions

# CONTACT INFORMATION [Internal and External]

## Personnel Information

List all utility team members, their job title, and contact information.

| Personnel |  |  |
| --- | --- | --- |
| Name and Title | Contact information | Emergency contact/alternative contact |

## Emergency Response Roles

Describe the roles and responsibilities for key utility and external response partner personnel.

| Water Utility and Partner Roles |  |  |
| --- | --- | --- |
| Name/Title/Contact | Emergency Response Role | Responsibilities |
|  | Emergency Response Lead (ERL) | Responsible for all incident response activities, including developing strategies and tactics and ordering and releasing resources. |
|  | Alternate Emergency Response Lead | Perform duties as assigned by ER Lead; assumes duties listed above when ER Lead is not available. |
|  | Public Information | Responsible for leading the public information effort based on information supplied by either the ERL or Alternate ERL. |
|  | Security | Will provide incident security as needed once notified by ER Lead. |
|  | Other |  |

## External Partner Communication

List all external response partners, their response role or position as well as contact information.

External Response Partner Contact List

### Local Partners

| Organization/Contact Name | Phone/Alternative Phone | Responsibilities/Comments |
| --- | --- | --- |
| County Emergency Management/ EOC | N/A | N/A |
| 911 | N/A | To be determined based on incident |
| Police | 911 or () |  |
| Fire/HazMat | 911 or () |  |
| Elected Officials |  |  |
| Power Utility |  |  |
| Contractor/vendor |  |  |
| Mutual Aid |  |  |
| Other |  |  |

### State Partners

| Organization/Contact Name | Phone/Alternative Phone | Responsibilities/Comments |
| --- | --- | --- |
| Primacy agency- DEQ | (405)-702-0100 | Department of Environmental Quality |
| Health Department | (405)-271-5600 | Oklahoma State Department of Health |
| Police | (918)-683-3256 | Highway Patrol |
| Laboratories | (918)-663-5400 (405)-702-1000 | Accurate Labs- Tulsa DEQ Main SELS phone number |
| Other |  |  |

### Federal Partners

| Organization/Contact Name | Phone/Alternative Phone | Responsibilities/Comments |
| --- | --- | --- |
| EPA Regional Office | (800)-887-6063 | EPA Region 6 |
| FBI Field Office | (405)-290-4636 | To be determined based on incident |
| CDC | (800)-232-4636 | To be determined based on incident |
| Other |  |  |

## Critical Customer Communication

List critical customers below who should be given priority notification due to their reliance on the water supply either for medical reasons, based on usage, public health mission or because they may serve customers considered to be sensitive sub-populations.

| Critical Customer Contact List |  |  |
| --- | --- | --- |
| Organization/Contact Name | Phone/Alternative Phone | Location/ Comments |

## Media Outreach

List contact information for all media outlets that your utility may coordinate with during notification efforts.

| Media Outreach Contact List |  |  |
| --- | --- | --- |
| Organization or Department | Point Person Name & Position | Phone/Contact Information |
| Social Media Coordinator |  |  |
| Newspaper- Local |  |  |
| Newspaper- Regional/State |  |  |
| Radio Station |  |  |
| TV Station |  |  |
| Other |  |  |

Public Notification Templates

Insert your templates for public notifications here, or reference where they may be found.

The EPA has a Public Notification Handbook that includes helpful information regarding public notification requirements as well as notification templates for each tier level of notification. For access to this handbook, see the following webpage: https://www.epa.gov/system/files/documents/2023-05/CWS_NTNC%20PN%20Handbook_508_March%202023.pdf

# PRIMARY UTILITY COMPONENTS

## Primary Utility Components

List all the components necessary to maintain effective operation of your utility. Simply add more rows to the tables below if you have additional components.

| Well(s) |  |  |
| --- | --- | --- |
| Well Name(s) | Location | Available Yield, Treatment Requirements, Comments |

| Intake (s) |  |  |
| --- | --- | --- |
| Intake Name(s) | Location | Available Yield, Treatment Requirements, Comments |

| Treatment Plant(s) |  |  |
| --- | --- | --- |
| Treatment Plant Name(s) | Location | Available Yield, Treatment Requirements, Comments |

| Storage and Distribution System- Tanks, Primary Mains and Pumping Stations |  |  |
| --- | --- | --- |
| Storage/Distribution Name and Type | Location/Area Served | Capacity, Comments |

| Treatment Chemical Storage Facilities |  |  |
| --- | --- | --- |
| Location | Type of Chemical (s) | Comments |

| Other Key Facilities |  |  |
| --- | --- | --- |
| Name | Location | Function/ Comments |

## Industry Chemical Handling and Storage Facilities

List surrounding chemical production, handling or storage industries. It is important to understand what chemicals may be released during an incident including but not limited to: accidental releases, 100-year flood events, thunderstorms, tornados, ice storms, or other severe weather. This includes large agricultural or industrial operations, factories, gas stations, etc.

| Industrial Chemical Handling Facilities |  |  |
| --- | --- | --- |
| Facility Name | Location/ Distance to Water Treatment and Distribution system | Comments |

| Chemical Storage Tanks |  |  |
| --- | --- | --- |
| Facility Name | Location/ Distance to Water Treatment and Distribution system | Comments |

## Safety

List safety materials and important safety information to help protect utility personnel during an incident.

| Safety Materials |  |  |
| --- | --- | --- |
| Equipment Type | Location | Comments |
| Toxic Material detection and testing supplies |  |  |
| Emergency food and water supplies |  |  |
| Emergency PPE (specify what type in comments) |  |  |
| Other equipment |  |  |

| Safety Information |  |
| --- | --- |
| Topic | Description/ Comments |
| Wind Speed | Utility personnel may not work outdoors when the sustained wind speed reaches or exceeds 60mph. |
| High Temperatures | For temperatures above 90,° system personnel should be allowed frequent breaks and access to water in order to protect against heat related injuries or illness. |
| Severe Weather | Utility personnel may not work outdoors in the case of severe weather including but not limited to: Tornado warnings, severe thunderstorms with hail or damaging winds, flooding, lightning etc. |
| Other |  |

## Response Resources

Provide an inventory of available resources (e.g., equipment, supplies) either maintained on site or readily available off site (e.g., neighboring water system) in the table below.

| Resources |  |  |
| --- | --- | --- |
| Type | Location | Comments |
| Generator |  |  |
| Fuel |  |  |
| Pump |  |  |
| Extreme Temperatures |  |  |
| Other |  |  |

| Communication Equipment Inventory |  |  |
| --- | --- | --- |
| Type | Assigned to/ Location | Comments |

# EMERGENCY PLANS AND PROCEDURES

This section contains plans and procedures that can be implemented in the event of a malevolent act or natural hazard that threatens your utility’s ability to deliver safe drinking water.

## Core Response Procedures

The “building blocks” for incident specific response procedures, as they are typically implemented across a broad variety of incidents (e.g., tornado, severe weather, flooding).

| Access |  |
| --- | --- |
| Topic | Description |
| Debris Cleaning |  |
| Alternate Routes |  |
| Identification badges |  |
| Assembly area |  |
| Other |  |

Physical Security

| Topic | Description |
| --- | --- |
| Access Control Procedures |  |
| Restricted Areas |  |
| Evidence protection measures |  |
| Other |  |

| Cybersecurity |  |
| --- | --- |
| Topic | Description |
| Disconnect procedure | Disconnect compromised computers from the network to isolate breached components and prevent further damage, such as the spreading of malware. |
| Notification | Utility will contact their designated IT person. |
| Assess Procedure | Assess any damage to utility systems and equipment, along with disruptions to utility operations. |
| Implementation processes | Implement actions to restore operations of mission critical processes (e.g., switch to manual operation if necessary) and provide public notification (if required). |
| Documentation | Include forms to document key information on the incident, including any suspicious calls, emails, or messages before or during the incident, damage to utility systems, and steps taken in response to the incident (including dates and times). |
| Other |  |

Power Loss

| Topic | Description |
| --- | --- |
| Backup power systems | Generators, fuel, pumps, and other misc. emergency response resources are listed in Section XIV. |
| Power Utility | Coordinate with your power utility for expected restoration priorities and timing. Power utility contact information is listed in Section VII. |
| Fuel Plan |  |
| Maintenance plan |  |

## Alternate Drinking Water Supplies

List information on alternative source water options and interconnected utilities to mitigate impacts during incidents.

| Emergency Alternate Drinking Water Supplies |  |  |
| --- | --- | --- |
| Item | Provider Name/Contact Information | Comments/Available Supply |
| Bottled Water |  |  |
| Bulk Water |  |  |
| Other |  |  |

| Alternative Source Water Options |  |  |
| --- | --- | --- |
| Type | Location | Comments |

| Interconnected Utilities |  |  |
| --- | --- | --- |
| Utility Name | Location | Contact information/Comments |

## Detection Strategies

This section contains strategies that can be used to aid in the detection of malevolent acts or natural hazards that threaten the security or resilience of the system.

| Detection Strategies |  |  |
| --- | --- | --- |
| Threat | Detection Method | Procedure/Comments |
| Unauthorized entry |  |  |
| Source water contamination |  |  |
| Distribution system contamination |  |  |
| Cyber intrusion |  |  |
| Hazardous chemical release |  |  |
| Severe Weather - including tornado |  |  |
| Flood |  |  |
| Power Outage |  |  |
| Other |  |  |

## Incident-Specific Response Procedures

Insert applicable Incident-Specific Response Procedures (ISRPs), specialized procedures tailored to an incident type. Incidents may include, but are not limited to, the following:

| - Cybersecurity - Drought - Earthquake - Extreme Cold and Winter Storms - Extreme Heat - Flooding - Harmful Algal Bloom | - Hurricane - Tornado - Tsunami - Volcanic Activity - Wildfire - Source Water Contamination - Distribution System Contamination |
| --- | --- |

EPA’s website provides a number of incident action checklists (IACs) that you can use to help develop your own ISRPs.

# Emergency Response Plan Approval

Representatives of the water system who are ultimately responsible, such as water system manager, owner, board members, and commissioners and council members, should review, approve, and sign the emergency response plan. This demonstrates support for the plan, acknowledges the effort put into its preparation, and puts it officially into effect.

Be sure to secure and protect the emergency response plan as it may contain sensitive information about facilities and response activities that you may not want others to know in order to safeguard the water system.

| Emergency Response Plan Approval This plan is officially in effect when reviewed, approved, and signed by the following people: |  |  |  |
| --- | --- | --- | --- |
| Name/Title | Signature | Position Title | Date |

# Personnel Agreement

After reviewing this document, all employees of the system shall read the below statement, and if in agreeance, shall provide their signature to acknowledge this document and its contents.

“I have reviewed the policies contained within this document and I sign below to signify that I agree with all that is contained. I, to the best of my ability, will carry out all policy components and requirements.”

| Print Name | Signature Name | Position Title | Date |
| --- | --- | --- | --- |