# Electrical Safety Training Plan

OSHA 29 CFR 1910.332
Business Name: [Your Business Name]
Address: [Business Address]
Prepared by: [Your Name or Safety Coordinator]
Effective Date: [MM/DD/YYYY]

## 1. Purpose

To protect employees from the risk of electrical shock, electrocution, burns, and related hazards by providing appropriate safety training in accordance with OSHA Standard 1910.332.

## 2. Scope

This training plan applies to employees who may:

- Work on or near exposed energized parts (qualified workers)

- Perform tasks that may expose them to electrical hazards, such as plugging/unplugging machines, resetting breakers, or cleaning around electrical panels (unqualified workers)

## 3. OSHA Training Requirement Summary (1910.332)

| Employee Type | Training Requirement |
| --- | --- |
| Qualified Employees (e.g., maintenance electricians) | Must receive training in the skills and techniques to distinguish exposed live parts, determine nominal voltages, and use safe work practices. |
| Unqualified Employees (e.g., general staff, cleaners) | Must be trained in the hazards of electricity and related safety practices for their specific job tasks. |

## 4. Training Objectives

At the end of this training, employees will be able to:

- Identify basic electrical hazards

- Understand the importance of electrical safety

- Use proper procedures when working near electrical equipment

- Follow lockout/tagout and breaker reset protocols (if applicable)

- Understand roles and responsibilities based on qualification level

- Unforeseen circumstances

## 5. Training Content

### For All Employees (Unqualified)

- Basics of electricity (voltage, current, circuits)

- Common electrical hazards (shock, burns, fire)

- Safe use of electrical cords and appliances

- Importance of not opening electrical panels

- What to do in case of a suspected electrical hazard

- Proper use of GFCIs (Ground Fault Circuit Interrupters)

- Reporting damaged cords, outlets, or equipment

- Housekeeping rules (e.g., keeping water away from outlets)

### For Qualified Employees (If Applicable)

- Identification of exposed live parts

- Voltage determination techniques

- Approach boundaries and PPE requirements (per 1910.333)

- Lockout/tagout procedures for electrical systems

- Use of insulated tools and equipment

- Arc flash awareness and labeling (if relevant)

## Training Categories

| Employee Type | Definition | Training Requirement |
| --- | --- | --- |
| Unqualified Employee | Employees who do not work directly on electrical systems but may work near them or use powered equipment (e.g., operators, cleaners, warehouse) | Awareness-level training on basic electrical safety |
| Qualified Employee | Individuals who have training to identify and work safely on energized parts and systems (e.g., maintenance staff or electricians) | Detailed technical training per 1910.332(b) and 1910.333 |

### 🔹 A. Training for Unqualified Employees

Goal: To prevent electrical accidents by providing awareness of risks and promoting safe work practices for non-electrical staff.

#### Topics Covered:

- Basic Concepts of Electricity

  - What electricity is: voltage, current, circuits

  - Dangers of electrical shock and arc flash

- Common Electrical Hazards

  - Frayed wires, overloaded outlets, exposed wiring

  - Using electrical appliances near water

  - Risk of fire and electrocution

- Safe Work Practices

  - Inspect cords and plugs before use

  - Never use equipment with damaged cords

  - Keep water, wet clothes, and cleaning chemicals away from outlets or electrical devices

  - Never open circuit breaker panels or electrical cabinets

- Use of GFCIs

  - When and why to use Ground Fault Circuit Interrupters

- Reporting and Response

  - Report all electrical hazards to a supervisor immediately

  - What to do if someone receives an electric shock

  - Evacuation and emergency contact procedures

- Prohibited Actions

  - Do not attempt to repair any electrical device

  - Do not run extension cords under rugs or through water

### 🔸 B. Training for Qualified Employees

Goal: Equip employees with technical knowledge to safely work on or near exposed energized parts.

#### Topics Covered (per OSHA 1910.332(b) and 1910.333):

- Recognizing Exposed Live Parts

  - How to identify energized components

  - Determining nominal voltage

- Electrical Safety Work Practices

  - Lockout/Tagout (LOTO) procedures (per 1910.333(b))

  - Establishing and respecting approach boundaries

  - Arc flash labeling and hazard analysis

- Proper Use of Tools and PPE

  - Insulated tools and testing equipment

  - Voltage-rated gloves and arc-rated clothing

  - Face shields, hearing protection, and footwear

- Shock and Arc Flash Protection

  - Understanding incident energy

  - Required PPE based on arc flash levels

  - How to read warning labels

- Emergency Response

  - How to respond to electrical contact injuries

  - Use of fire extinguishers on electrical fires (Class C)

- Safe Installation and Maintenance Practices

  - De-energizing and verifying isolation

  - Proper grounding and bonding techniques

- Applicable Standards and Regulations

  - OSHA 1910 Subpart S (Electrical)

  - NFPA 70E (where applicable)

## 6. Training Methods

- Instructor-led safety meetings

- OSHA safety videos

- Hands-on demonstrations (for qualified personnel)

- Printed handouts and visual aids

- Interactive Q&A or quizzes

## 7. Training Schedule

| Event | Frequency |
| --- | --- |
| New hire training | At time of job assignment |
| Refresher training | Every 3 years (minimum), or sooner if: |
|  | - Tasks change |
|  | - New equipment introduced |
|  | - An incident occurs |

## 8. Documentation

All training will be documented and retained. Each training record will include:

- Employee name

- Training date

- Trainer name

- Topics covered

- Signature of employee

## 9. Trainer Qualifications

Training shall be provided by a competent person with knowledge of electrical safety hazards and OSHA standards, such as:

- Safety coordinator

- Licensed electrician

- OSHA-authorized trainer

## 10. Program Administrator

Name: [Your Name]
Title: [Owner / Safety Coordinator]
Phone: [XXX-XXX-XXXX]
Email: [you@example.com]
Responsibilities:

- Ensure training is provided and recorded

- Maintain training materials and updates

- Identify employees requiring qualified-level training

Signature: _______________________
Date: [MM/DD/YYYY]