|  |
| --- |
| **VAPOR MONITORING WELL RELEASE DETECTION** |
| **OKLAHOMA CORPORATION COMMISSION PETROLEUM STORAGE TANK DIVISION P.O. Box 52000**  **Oklahoma City, OK 73152-2000** |

FOR CALENDAR YEAR FACILITY NAME FACILITY I. D. NUMBER

**FACILITY ADDRESS CITY MONITORING DEVICE (Model/Type)**

**MONITORING PERFORMED BY: OPERATOR**  **CONTRACTOR**  **NAME AND LICENSE NO:**

**CONTRACTOR ADDRESS \_ CITY ZIP**

**PHONE**

**SITE MAP**

(Indicate **North** on map; include building, tank pit area and pump islands; identify each Monitor Well by a distinct number)

**OAC 165:25-3-6.23 requires that a site-specific site assessment must be conducted and approved by the OCC prior to using this method of**

**release detection. An OCC Licensed Monitor Well Technician must check all vapor wells. Instruments must detect hydrocarbons in a range of 0 to 10,000 units/ppm and be calibrated per manufacturer’s instructions. Maintain proof of calibration and/or repairs.**

REPORT VAPOR READINGS ABOVE ACTION LEVELS TO [PSTReleaseReporting@occ.ok.gov](mailto:PSTReleaseReporting@occ.ok.gov) or 405-521-4683 WITHIN 24 HOURS

MONITORING WELL DATA: Use Additional Pages for Additional Wells

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Month & Day Inspected** |  | | **Monitoring Well Readings in Units / PPM** | | | | **Inspected By** |
| **Last Calibration Date** | **Calibration Gas Used** | **MW No.** | **MW No.** | **MW No.** | **MW No.** | **(Legible Signature)** |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

TOTAL NUMBER OF WELLS BEING MONITORED: PAGE OF PAGES

Revised January 2021

VAPOR MONITORING WELL RELEASE DETECTION CONTINUING FROM FRONT PAGE

MONITORING WELL DATA: Use Additional Pages for Additional Wells

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Month & Day Inspected** |  | | **Monitoring Well Readings in Units / PPM** | | | | **Inspected By** |
| **Last Calibration Date** | **Calibration Gas Used** | **MW No.** | **MW No.** | **MW No.** | **MW No.** | **(Legible Signature)** |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

TOTAL NUMBER OF WELLS BEING MONITORED: PAGE OF PAGES

MONITORING WELL DATA: Use Additional Pages for Additional Wells

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Month & Day Inspected** |  | | **Monitoring Well Readings in Units / PPM** | | | | **Inspected By** |
| **Last Calibration Date** | **Calibration Gas Used** | **MW No.** | **MW No.** | **MW No.** | **MW No.** | **(Legible Signature)** |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

TOTAL NUMBER OF WELLS BEING MONITORED: PAGE OF PAGES

Revised January 2021